## Slide 1: The busy little Arduino in the TC1
A short tour

## Slide 2: physical components
analog
amplifier
pickup
coil
arduino
USB
to: ((py)j)amaseis

## Slide 5
main
arduino
program
output
9615.4 interrupts
each second
analog to digital
converter
analog
digital
18.78/second

## Slide 6: Sample arithmetic
We acquire 9615.4 samples/second from the TC1’s sensor
We send 18.78 samples/second to the computer over the USB cable
Each output sample is the average of 2048 input samples

## Slide 7: Averaging madness
Massive averaging has two principal benefits in the TC1
reduces some types of noise in the data
greatly improves the resolution of the data
  resolution is the smallest change we can measure

## Slide 8: The Arduino also
applies three digital filters to the data that
remove long-term drift
reduce electrical noise
boost part of the long-period signal

## Slide 9: How busy is our Arduino?